## BCA
E-BC-K318-M
Calculation
Protein content (mg/mL) = (ΔA562 - b) ÷ a × f
Standard curve | [8 empty] | [Note]:
y: The absolute OD value of standard (ODStandard – ODBlank);
Concentration (mg/mL) | OD Value |  | Average OD | Absoluted OD |  |  |  |  | x: The concentration of Standard;
0 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | a: The slope of standard curve;
0.2 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | b: The intercept of standard curve.
0.3 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | ΔA562: Absolute OD (ODSample – ODBlank).
0.4 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | f: Dilution factor of sample before test.
0.6 |  |  | #DIV/0! | #DIV/0!
0.7 |  |  | #DIV/0! | #DIV/0!
0.9 |  |  | #DIV/0! | #DIV/0!
1 |  |  | #DIV/0! | #DIV/0!
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b.
| a: | #DIV/0! | b: | #DIV/0!
|  | OD Value |  |  | Average OD | △A562 | f | Protein content (mg/mL)
Sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!

## Example analysis
E-BC-K318-M
Calculation
Protein content (mg/mL) = (ΔA562 - b) ÷ a × f
Standard curve | [8 empty] | [Note]:
y: The absolute OD value of standard (ODStandard – ODBlank);
Concentration (mg/mL) | OD Value |  | Average OD | Absoluted OD |  |  |  |  | x: The concentration of Standard;
0 | 0.08 | 0.081 | 0.0805 | 0 |  |  |  |  | a: The slope of standard curve;
0.2 | 0.308 | 0.307 | 0.3075 | 0.227 |  |  |  |  | b: The intercept of standard curve.
0.3 | 0.396 | 0.394 | 0.395 | 0.3145 |  |  |  |  | ΔA562: Absolute OD (ODSample – ODBlank).
0.4 | 0.495 | 0.496 | 0.4955 | 0.415 |  |  |  |  | f: Dilution factor of sample before test.
0.6 | 0.665 | 0.667 | 0.666 | 0.5855
0.7 | 0.76 | 0.761 | 0.7605 | 0.68
0.9 | 0.905 | 0.906 | 0.9055 | 0.825
1 | 0.984 | 0.984 | 0.984 | 0.9035
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b.
| a: | 0.88886 | b: | 0.038272
|  | OD Value |  |  | Average OD | △A562 | f | Protein content (mg/mL)
Sample | ODSample | 0.176 | 0.184 | 0.179 | 0.17967 | 0.099167 | 20 | 1.3702