## Sheet1
E-BC-K137-M
Calculation
The standard curve:
Standard curve | [8 empty] | 1. Average the duplicate reading for each standard.
Concentration (μmol/L) | OD Value |  | Average OD | Absoluted OD |  |  |  |  | 2. Subtract the mean OD value of the blank (Standard #①) from all standard readings. This is the absoluted OD value.
0 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | 3. Plot the standard curve by using absoluted OD value of standard and correspondent concentration as y-axis and x-axis respectively. Create the standard curve (y = ax + b) with graph software (or EXCEL).
3.85 |  |  | #DIV/0! | #DIV/0!
7.79 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | Liquid samples:
11.55 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | Zn content (μmol/L) = (△A560 - b) ÷ a ×2* × f
15.4 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | [Note]：
23.1 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | ΔA560: ODSample – ODBlank
30.08 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | 2*: Dilution factor of sample in pretreatment step.
46.2 |  |  | #DIV/0! | #DIV/0! |  |  |  |  | f: Dilution factor of sample before test.
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b.
| a: | #DIV/0! | b: | #DIV/0!
|  | OD Value |  |  | Average OD | ΔA560 | f | Zn content (μmol/L)
Liquid samples | ODSample |  |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!