## Sheet1
E-BC-K225-M
Calculation
The standard curve:
Standard curve | [9 empty] | 1. Average the duplicate reading for each standard.
Concentration (mmol/L) | OD Value |  | Average OD | Absoluted OD | [5 empty] | 2. Subtract the mean OD value of the blank (Standard #①) from all standard readings. This is the absoluted OD value.
0 |  |  | #DIV/0! | #DIV/0! | [5 empty] | 3. Plot the standard curve by using absoluted OD value of standard and correspondent concentration as y-axis and x-axis respectively. Create the standard curve (y = ax + b) with graph software (or EXCEL).
0.3 |  |  | #DIV/0! | #DIV/0!
0.6 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Serum (plasma) and other liquid sample:
0.9 |  |  | #DIV/0! | #DIV/0! | [5 empty] | T-AOC (mmol/L) = (A593 - b ) ÷ a × f
1.2 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Tissue and cells sample:
1.8 |  |  | #DIV/0! | #DIV/0! | [5 empty] | T-AOC (mmol/gprot) = (A593 - b ) ÷ a ÷ Cpr × f
2.1 |  |  | #DIV/0! | #DIV/0! | [5 empty] | [Note]：
2.5 |  |  | #DIV/0! | #DIV/0! | [5 empty] | ΔA593: ODSample – ODBlank.
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b. | [9 empty] | f: Dilution factor of sample before test.
Cpr: Concentration of protein in sample, gprot/L.
| a: | #DIV/0! | b: | #DIV/0!
|  | OD Value |  |  | Average OD | ΔA593 | f | Cpr | T-AOC（mmol/L or mmol/gprot）
Liquid sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  | / | #DIV/0!
Tissue and cells sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!