## Sheet1
E-BC-K279-M
Calculation
The standard curve:
Standard curve | [9 empty] | 1. Average the duplicate reading for each standard.
Concentration (mmol/L) | OD Value |  | Average OD | Absoluted OD | [5 empty] | 2. Subtract the mean OD value of the blank (Standard #①) from all standard readings. This is the absoluted OD value.
0 |  |  | #DIV/0! | #DIV/0! | [5 empty] | 3. Plot the standard curve by using absoluted OD value of standard and correspondent concentration as y-axis and x-axis respectively. Create the standard curve (y = ax + b) with graph software (or EXCEL).
0.1 |  |  | #DIV/0! | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Serum (plasma) and other liquid sample:
0.3 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Potassium content (mmol/L) = (ΔA450 - b) ÷ a ×10 × f
0.4 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Tissue sample:
0.5 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Potassium content (mmol/ gprot) = (ΔA450 - b) ÷ a ×10 × f ÷ Cpr
0.6 |  |  | #DIV/0! | #DIV/0! | [5 empty] | [Note]：
0.8 |  |  | #DIV/0! | #DIV/0! | [5 empty] | ΔA: Absolute OD (ODSample – ODBlank).
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b. | [9 empty] | 10: Dilution multiple of sample in preparation of supernatant.
f: Dilution factor of sample before test.
10: Dilution multiple of sample in preparation of supernatant.
| a: | #DIV/0! | b: | #DIV/0!
|  | OD Value |  |  | Average OD | ΔA450 | f | Cpr | Potassium content（mmol/L or mmol/gprot）
Serum (plasma) sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  | / | #DIV/0!
Tissue sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!