## Sheet1
E-BC-K298-M
Calculation
The standard curve:
Standard curve | [9 empty] | 1. Average the duplicate reading for each standard.
Concentration (μmol/L) | OD Value |  | Average OD | Absoluted OD | [5 empty] | 2. Subtract the mean OD value of the blank (Standard #①) from all standard readings. This is the absoluted OD value.
0 |  |  | #DIV/0! | #DIV/0! | [5 empty] | 3. Plot the standard curve by using absoluted OD value of standard and correspondent concentration as y-axis and x-axis respectively. Create the standard curve (y = ax + b) with graph software (or EXCEL).
5 |  |  | #DIV/0! | #DIV/0!
10 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Serum (plasma) sample:
20 |  |  | #DIV/0! | #DIV/0! | [5 empty] | TABRS (μmol/L) = (∆A - b) ÷ a × f
40 |  |  | #DIV/0! | #DIV/0! | [5 empty] | Tissue sample:
60 |  |  | #DIV/0! | #DIV/0! | [5 empty] | TABRS (μmol/gprot) = (∆A - b) ÷ a × f ÷ Cpr
80 |  |  | #DIV/0! | #DIV/0! | [5 empty] | [Note]：
100 |  |  | #DIV/0! | #DIV/0! | [5 empty] | ΔA: Absolute OD (ODSample – ODBlank).
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b. | [9 empty] | Cpr: Concentration of protein in sample (gprot/L)
f: Dilution factor of sample before test.
| a: | #DIV/0! | b: | #DIV/0!
|  | OD Value |  |  | Average OD | ΔA | f | Cpr | TBARS (μmol/L or μmol/gprot)
Serum (plasma) sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  | / | #DIV/0!
Tissue sample | ODSample |  |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!